Class diagram for iterative algorithms
sRAMManager
Manage RAM usage and needs (only informative).
Singleton class.
oSystemMatrix
It is a structure that can be used to store a complete system matrix, which is a complete set of oProjectionLine pre-computed and organized as a map, with respect to the coordinate system in use (crystal index, view, etc).
Write images, sinograms, in any formats, etc.
Singleton class based on a sole base-name.
sOutputManager
Virtual mother class that cannot be used stand-alone.
Manage the generic input data format (made from a binary data file and an ascii header). Each child class has specific arrays corresponding to the possible informations stored or not in the data file. It uses some vEvent as buffers to get informations during runtime.
vDataFile
Virtual mother class that cannot be used stand-alone.
Store informations about the given event common to all possible childs (PET, SPECT, transmission, etc).
vEvent
Virtual mother class that cannot be used stand-alone.
Manage the scanner geometry, coordinate computations, etc.
vScanner
Store and manage all image matrices used by the algorithm: image4D, forward-image4D, corrections, sensitivity, optional images for some algorithms. Taking the number of CPU threads and number of subsets into account. Manage deformations.
oImageSpace
Computes a oProjectionLine for a given vEvent, based either on vProjector or a provided system matrix (managed by oSystemMatrix). It uses the vScanner (providing the event) which computes the cartesian coordinates for further use with the built-in geometric projectors.
oProjectorManager
This is the main class for iterative reconstructions, that manages the computation of sensitivity images and the iteration loops.
oIterativeAlgorithm
It is a simple structure that contains the voxel contributions for a given line of projection. There is an additional dimension which manages the case of compression or multiple pinhole, etc.
oProjectionLine
Manager class for image convolvers
oImageConvolverManager
Manage the optimization part of the algorithm by using a vOptimizer and a vPenalty.
oOptimizerManager
Prefixes for class name:
 - s for a singleton class
 - v for a virtual class
 - i for a inherited class
 - o for a standard class
Legend
Diagram links:
A	B : B inherits from A
A	B : B instances and uses A
A	B : B uses A
        A : Main() instances A
A	B : B uses A through C as a
    parameter
     C
A	B : B uses A through C as a
    result
     C
Manage the automatic detection of predefined scanners, and detection of the one associated to input files.
Singleton class.
sScannerManager
Store the image domain dimensions and position.
oImageDimensions
Virtual mother class to represent any kind of projector. It uses some pure virtual mandatory functions to fill a oProjectionLine.
Includes a function to get an estimation of the maximum number of contributing voxels to a projection line.
vProjector
Manager class for dynamic model applied to images.
It can handle linear and non-linear models, for application such as direct kinetic modelling and temporal regularization.
oDynamicModelManager
Manage image-based motion compensation of any nature (rigid, elastic).
It uses an oImageSpace object as parameter.
oDeformationManager
Singleton class that manages lists of addons that are automatically added.
It includes Optimizers, Priors, Projectors, KineticModels.
sAddonManager
This is a pure virtual class that cannot be used on its own. Its childs are the different specific
optimizers (e.g. MLEM) and must implement several pure virtual functions
The specific optimizers are created in the oOptimizerManager class.
vOptimizer
This is a pure virtual class that cannot be used on its own. Its childs are the different specific
priors (e.g. Gibbs) and must implement several pure virtual functions.
The specific priors are created in the oOptimizerManager class.
vPenalty
This is main class dedicated to image convolver, for the applications of fix or variant PSF
This class is instanciated by the Image Convolver Manager
vImageConvolver
This is main class dedicated to image convolver, for the applications of fix or variant PSF
This class is instanciated by the Image Convolver Manager
vImageConvolver
This class gathers the information about the dynamic splitting of the data
It contains the functions dedicated to the reading of user-provided informations
about the dynamic dataset.
It is specific to each iDataFile object.
oDynamicDataManager
iEventPET
iEventSPECT
iEventCT
iEventListModePET
iEventSinoPET
iEventListModeSPECT
iEventSinoSPECT
iEventListModeCT
iEventSinoCT
iEventPET
iEventPET

---
Class diagram for iterative algorithms
oSystemMatrix
It is a structure that can be used to store a complete system matrix, which is a complete set of oProjectionLine pre-computed and organized as a map, with respect to the coordinate system in use (crystal index, view, etc).
Write images, sinograms, in any formats, etc.
Singleton class based on a sole base-name.
sOutputManager
Virtual mother class that cannot be used stand-alone.
Manage the generic input data format (made from a binary data file and an ascii header). Each child class has specific arrays corresponding to the possible informations stored or not in the data file. It uses some vEvent as buffers to get informations during runtime.
vDataFile
Virtual mother class that cannot be used stand-alone.
Store informations about the given event common to all possible childs (PET, SPECT, transmission, etc).
vEvent
Virtual mother class that cannot be used stand-alone.
Manage the scanner geometry, coordinate computations, etc.
vScanner
Store and manage all image matrices used by the algorithm: image4D, forward-image4D, corrections, sensitivity, optional images for some algorithms. Taking the number of CPU threads and number of subsets into account. Manage deformations.
oImageSpace
Computes a oProjectionLine for a given vEvent, based either on vProjector or a provided system matrix (managed by oSystemMatrix). It uses the vScanner (providing the event) which computes the cartesian coordinates for further use with the built-in geometric projectors.
oProjectorManager
This is the main class for iterative reconstructions, that manages the computation of sensitivity images and the iteration loops.
oIterativeAlgorithm
It is a simple structure that contains the voxel contributions for a given line of projection. There is an additional dimension which manages the case of compression or multiple pinhole, etc.
oProjectionLine
Manager class for image convolvers
oImageConvolverManager
Manage the optimization part of the algorithm by using a vOptimizer and a vPenalty.
oOptimizerManager
Prefixes for class name:
 - s for a singleton class
 - v for a virtual class
 - i for a inherited class
 - o for a standard class
Legend
Diagram links:
A	B : B inherits from A
A	B : B instances and uses A
A	B : B uses A
        A : Main() instances A
A	B : B uses A through C as a
    parameter
     C
A	B : B uses A through C as a
    result
     C
Manage RAM usage and needs (only informative).
Singleton class.
sRAMManager
Manage the automatic detection of predefined scanners, and detection of the one associated to input files.
Singleton class.
sScannerManager
Store the image domain dimensions and position.
oImageDimensions
Virtual mother class to represent any kind of projector. It uses some pure virtual mandatory functions to fill a oProjectionLine.
Includes a function to get an estimation of the maximum number of contributing voxels to a projection line.
vProjector
Manager class for dynamic model applied to images.
It can handle linear and non-linear models, for application such as direct kinetic modelling and temporal regularization.
oDynamicModelManager
Manage image-based motion compensation of any nature (rigid, elastic).
It uses an oImageSpace object as parameter.
oDeformationManager
Singleton class that manages lists of addons that are automatically added.
It includes Optimizers, Priors, Projectors, KineticModels.
sAddonManager
This is a pure virtual class that cannot be used on its own. Its childs are the different specific
optimizers (e.g. MLEM) and must implement several pure virtual functions
The specific optimizers are created in the oOptimizerManager class.
vOptimizer
This is a pure virtual class that cannot be used on its own. Its childs are the different specific
priors (e.g. Gibbs) and must implement several pure virtual functions.
The specific priors are created in the oOptimizerManager class.
vPenalty
This is main class dedicated to image convolver, for the applications of fix or variant PSF
This class is instanciated by the Image Convolver Manager
vImageConvolver
Generic class for dynamic models
vDynamicModel
This class gathers the information about the dynamic splitting of the data
It contains the functions dedicated to the reading of user-provided informations
about the dynamic dataset.
It is specific to each iDataFile object.
oDynamicDataManager
iEventPET
iEventSPECT
iEventCT
iEventListModePET
iEventSinoPET
iEventListModeSPECT
iEventSinoSPECT
iEventListModeCT
iEventSinoCT
iConvolverStaticPSF
IConvolver...
iProjectorNativeSiddon
iProjector...
iScannerPET
iScannerSPECTConv
iScannerCT
iScannerSPECTPinhole
iScannerSinogram
iOptimizerMLEM
iOptimizer...
iLinearModel
iModel...
iJointEstimationModel
i...Model
This is main class dedicated to image-based deformation.
This class is instanciated in the main loop of the reconstruction algorithm.
vDeformation
iOpticalFlot
IDeformation...

---
Class diagram for iterative algorithms
sRAMManager
Manage RAM usage and needs (only informative).
Singleton class.
iDataFileSPECT
Inherit from vDataFile.
This class manage the MPI splitting of the file and specific reading of the data file associated to its modality.
iDataFileTransmission
Inherit from vDataFile.
This class manage the MPI splitting of the file and specific reading of the data file associated to its modality.
iEventTransmission
Inherit from vEvent.
Store informations about the given event specific to its modality.
iEventSPECT
Inherit from vEvent.
Store informations about the given event specific to its modality.
oSystemMatrix
It is a structure that can be used to store a complete system matrix, which is a complete set of oProjectionLine pre-computed and organized as a map, with respect to the coordinate system in use (crystal index, view, etc).
Write images, sinograms, in any formats, etc.
Singleton class based on a sole base-name.
sOutputManager
Virtual mother class that cannot be used stand-alone.
Manage the generic input data format (made from a binary data file and an ascii header). Each child class has specific arrays corresponding to the possible informations stored or not in the data file. It uses some vEvent as buffers to get informations during runtime.
vDataFile
Virtual mother class that cannot be used stand-alone.
Store informations about the given event common to all possible childs (PET, SPECT, transmission, etc).
vEvent
Virtual mother class that cannot be used stand-alone.
Manage the scanner geometry, coordinate computations, etc.
vScanner
Store and manage all image matrices used by the algorithm: image4D, forward-image4D, corrections, sensitivity, optional images for some algorithms. Taking the number of CPU threads and number of subsets into account. Manage deformations.
oImageSpace
Computes a oProjectionLine for a given vEvent, based either on vProjector or a provided system matrix (managed by oSystemMatrix). It uses the vScanner (providing the event) which computes the cartesian coordinates for further use with the built-in geometric projectors.
oProjectorManager
Inherit from vEvent.
Store informations about the given event specific to its modality.
iEventPET
Inherit from vScanner.
iScannerPET
This is the main class for iterative reconstructions, that manages the computation of sensitivity images and the iteration loops.
oIterativeAlgorithm
Inherit from vDataFile.
This class manage the MPI splitting of the file and specific reading of the data file associated to its modality.
iDataFilePET
Inherit from vScanner.
iScannerSPECTConv
Inherit from vScanner.
iScannerSPECTPinhole
It is a simple structure that contains the voxel contributions for a given line of projection. There is an additional dimension which manages the case of compression or multiple pinhole, etc.
oProjectionLine
Use to convolve images. Several types of kernel can be defined. Also contains several optimized function to convolve multiple images at once given a oImageSpace object (used for image-based PSF modeling for example).
oConvolver
Manage the optimization part of the algorithm by using a vOptimizer and a vPenalty.
oOptimizerManager
Prefixes for class name:
 - s for a singleton class
 - v for a virtual class
 - i for a inherited class
 - o for a standard class
Legend
Diagram links:
A	B : B inherits from A
A	B : B instances and uses A
A	B : B uses A
        A : Main() instances A
A	B : B uses A through C as a
    parameter
     C
A	B : B uses A through C as a
    result
     C
Manage the automatic detection of predefined scanners, and detection of the one associated to input files.
Singleton class.
sScannerManager
Store the image domain dimensions and position.
oImageDimensions
Inherit from vScanner.
iScannerSinogram
Virtual mother class to represent any kind of projector. It uses some pure virtual mandatory functions to fill a oProjectionLine.
Includes a function to get an estimation of the maximum number of contributing voxels to a projection line.
vProjector
Inherit from vProjector.
This is an example.
iProjectorSiddon
Inherit from vOptimizer.
This is an example.
iOptimizerMLEM
Manage the kinetic modeling. It is uses for model fitting at the end of updates. It only uses the oImageSpace as parameter.
vKineticModel
Inherit from vKineticModel.
This is an example.
iModelLogan
Manage the penalty computation for penalized optimizers such as OSL. It is instanciated and used by vOptimizer.
vPenalty
Inherit from vPenalty.
This is an example.
iPenaltyJointEntropy
Manage image-based motion compensation of any nature (rigid, elastic).
It uses an oImageSpace object as parameter.
vMotion
Manage the forward and backward projections of a vEvent, based on a oProjectionLine and on a oImageSpace. It manages updates in the data and image domains which are specific to the child class representing a given algorithm. It can use a vPenalty.
vOptimizer

---
Class diagram for iterative algorithms
simplified diagram including all main classes
oDynamicModelManager
Manage the kinetic modeling. It is uses for model fitting at the end of updates. It only uses the oImageSpace as parameter.
oSystemMatrix
It is a structure that can be used to store a complete system matrix, which is a complete set of oProjectionLine pre-computed and organized as a map, with respect to the coordinate system in use (crystal index, view, etc).
Virtual mother class that cannot be used stand-alone.
Manage the generic input data format (made from a binary data file and an ascii header). Each child class has specific arrays corresponding to the possible informations stored or not in the data file. It uses some vEvent as buffers to get informations during runtime.
vDataFile
Virtual mother class that cannot be used stand-alone.
Store informations about the given event common to all possible childs (PET, SPECT, transmission, etc).
vEvent
Virtual mother class that cannot be used stand-alone.
Manage the scanner geometry, coordinate computations, etc.
vScanner
Store and manage all image matrices used by the algorithm: image4D, forward-image4D, corrections, sensitivity, optional images for some algorithms. Taking the number of CPU threads and number of subsets into account. Manage deformations.
oImageSpace
Computes a oProjectionLine for a given vEvent, based either on vProjector or a provided system matrix (managed by oSystemMatrix). It uses the vScanner (providing the event) which computes the cartesian coordinates for further use with the built-in geometric projectors.
oProjectorManager
This is the main class for iterative reconstructions, that manages the computation of sensitivity images and the iteration loops.
oIterativeAlgorithm
It is a simple structure that contains the voxel contributions for a given line of projection. There is an additional dimension which manages the case of compression or multiple pinhole, etc.
oProjectionLine
Use to convolve images. Several types of kernel can be defined. Also contains several optimized function to convolve multiple images at once given a oImageSpace object (used for image-based PSF modeling for example).
oImageConvolver
Manage the forward and backward projections of a vEvent, based on a oProjectionLine and on a oImageSpace. It manages updates in the data and image domains which are specific to the child class representing a given algorithm. It can use a vPenalty.
oOptimizerManager
Prefixes for class name:
 - s for a singleton class
 - v for a virtual class
 - i for a inherited class
 - o for a standard class
Legend
Diagram links:
A	B : B inherits from A
A	B : B instances and uses A
A	B : B uses A
        A : Main() instances A
A	B : B uses A through C as a
    parameter
     C
A	B : B uses A through C as a
    result
     C
Store the image domain dimensions and position.
oImageDimensions
Virtual mother class to represent any kind of projector. It uses some pure virtual mandatory functions to fill a oProjectionLine.
Includes a function to get an estimation of the maximum number of contributing voxels to a projection line.
vProjector
Manage the penalty computation for penalized optimizers such as OSL. It is instanciated and used by vOptimizer.
vPenalty
Manage image-based motion compensation of any nature (rigid, elastic).
It uses an oImageSpace object as parameter.
oDeformationManager

---
Class diagram for analytical algorithms (to be done)
oAnalyticalAlgorithm
This is the main class for analytical reconstructions, that manages the rebinning into sinograms, filtering and back-projection.
Write images, sinograms, in any formats, etc.
Singleton class based on a sole base-name.
sOutputManager
Virtual mother class that cannot be used stand-alone.
Manage the generic input data format (made from a binary data file and an ascii header). Each child class has specific arrays corresponding to the possible informations stored or not in the data file. It uses some vGenericEvent as buffers to get informations during runtime.
vGenericDataFile
Virtual mother class that cannot be used stand-alone.
Store informations about the given event common to all possible childs (PET, SPECT, transmission, etc).
vGenericEvent
Virtual mother class that cannot be used stand-alone.
Manage the scanner geometry, coordinate computations, etc.
vGenericScanner
Inherit from vGenericEvent.
Store informations about the given event specific to its modality.
iPETEvent
Inherit from vGenericEvent.
Store informations about the given event specific to its modality.
iSPECTEvent
Inherit from vGenericEvent.
Store informations about the given event specific to its modality.
iTransmissionEvent
Inherit from vGenericDataFile.
This class manage the MPI splitting of the file and specific reading of the data file associated to its modality.
iPETDataFile
Inherit from vGenericDataFile.
This class manage the MPI splitting of the file and specific reading of the data file associated to its modality.
iSPECTDataFile
Inherit from vGenericDataFile.
This class manage the MPI splitting of the file and specific reading of the data file associated to its modality.
iTransmissionDataFile
Prefixes for class name:
 - s for a singleton class
 - v for a virtual class
 - i for a inherited class
 - o for a standard class
Legend
Diagram links:
A	B : B inherits from A
A	B : B instances and uses A
A	B : B uses A
        A : Main() instances A
A	B : B uses A through C as a parameter
     C
A	B : B uses A through C as a result
     C
Manage RAM usage and needs (only informative).
Singleton class.
sRAMManager
Manage the automatic detection of predefined scanners, and detection of the one associated to input files.
Singleton class.
sScannerManager
Store the image domain dimensions and position.
oImageDimensions
Inherit from vGenericScanner.
iPETScanner
Inherit from vGenericScanner.
iSPECTConvScanner
Inherit from vGenericScanner.
iSPECTPinholeScanner
Inherit from vGenericScanner.
iSinogramScanner

---
Definitions for class prefixes
 -	v	: virtual
 -	i	: inherit
 -	s	: singleton
 -	o	: object (independant)
Definitions for variable prefixes
 -	a :	argument
 -	t	:	belong to this (data member)
 -	p :	pointer
This is a schematic og the main iterative loop from the oIterativeAlgorithm class
FOR iter=0 iter<m_NbIterations iter++
FOR subs=0 subs<m_NbSubsets subs++
// Copy current image in forward-image buffer (apply deformation if needed)
tp_ImageSpace->PrepareForwardImage() ;
// Apply PSF if needed
tp_Convolver->ApplyPSFToForwardImage(tp_ImageSpace);
FOR bed=0 bed<m_NbBeds bed++
// Compute MPI start and stop indices
unsigned long int index_start, index_stop = mpi_stuff;
#pragma omp parallel for private(index) schedule(static, 1)
FOR index=index_start index<index_stop index++
// Get the thread index
int th = omp_gem_thread_num();
// Get the current event for that thread index
mEvent* event = tpp_InputFiles[bed]->GetEvent(th,index);
// Compute the projection line
oProjectionLine* line = tp_Projector->ComputeProjectionLine(th,event);
// Optimize in the data space (forward-proj, update, backward-proj)
if (line) tp_Optimizer->DataUpdate(th, event, line);
END event
#pragma omp end parallel
END bed
// Merge parallel results
tp_ImageSpace->Reduce();
// Apply PSF if needed
tp_Convolver->ApplyPSFAfterProjection(tp_ImageSpace);
// Apply deformation and other stuff if needed
tp_ImageSpace->PreImageUpdate();
// Compute the penalty component if any (MAP)
tp_Optimizer->ComputePenalty();
// Optimize in the image space (apply corrections, penalty and sensitivity)
tp_Optimizer->ImageUpdate();
// Kinetic modeling step (if applied)
tp_KineticModel->FitModel();
// Post-update processing of the current estimate (smooth, or anything)
tp_ImageSpace->PostImageUpdate();
END subs
tp_ImageSpace->CleanNeverVisitedVoxels();
tp_OutputManager->SaveIterationImage(iter);
END iter

---
Manager classes (singleton)

---
sOutputManager
Description
Functions members
Singleton class that manages output writing on disk (images, sinograms, etc).
It also manages logging and printing on screen.
int InitOutputDirectory(string a_path);
int InitLogFile();
int LogCommandLine(int argc, char** argv);
int LogStandard(const string& a_ClassName, const string& a_FunctionName, const string& a_Message);
int LogError(const string& a_ClassName, const string& a_FunctionName, const string& a_Message);
int SavePETImage();
int SaveSPECTImage();
int SaveTransImage();
int SaveSensitivityImage(FLTNB*** a_matrix, int a_nbImages, int a_4Dsize, int a_3Dsize);
int InitPETImageFile(string a_path);
void SetBaseName(string a_baseName);
void SetPathToSensitivityImage(string a_path)
        {m_pathToSensitivityImage = a_path;};
int LUT_WriteScannerElementCoordinates(ofstream* ap_file, int a_elt, FLTNB* a_cartesianPosition, FLTNB* a_angle);
int LUT_Write(ofstream* ap_file, int a_value);
int LUT_Write(ofstream* ap_file, FLTNB a_value);
void PROJ_SetOutputDataFile(string a_pathToDataFile);
int PROJ_WritePETListModeEvent(fstream* a_dataFile, iEventListModePET* ap_Event);
int PROJ_WritePETSinoEvent(fstream* a_dataFile, iEventSinoPET* ap_Event, FLTNB fp);
(int) InitOutputDirectory()
  Parameters: a_path (path of the base directory as provided by the user)
  Aim: Check if the directory provided by the user exists, create it otherwise
  Returns: 0 if success, and positive value otherwise (can't access - or - path does not point to a directory).
  (int) InitLogFile
  Parameters: none
  Aim: Create a FILE in the m_BaseName directory in which the Log will be written
  Returns: 0 if success, and positive value otherwise
 ( int) LogCommandLine
  Parameters: int argc, char** argv
  Aim: Write stuff in the m_log file.
  Returns: 0 if success, and positive value otherwise
  (int)LogStandard
  Parameters: const string& a_ClassName, const string& a_FunctionName, const string& a_Message;
  Aim: Standard message sent by any class of the program
  Returns: 0 if success, and positive value otherwise
  (int)LogError
  Parameters: const string& a_ClassName, const string& a_FunctionName, const string& a_Message
  Aim: Error message sent by any class of the program
  Returns: 0 if success, and positive value otherwise
(int) SavePETImage
  Parameters: FLTNB* a_matrix (array containing the 3D PET image)
        int a_numberOfElts (number of elements in the a_matrix array)
  Aim: Save the PET image in the output directory
  Returns: 0 if success, and positive value otherwise
  (int) SaveSPECTImage
  Parameters:
  Aim: Save the SPECT image in the output directory
  Returns: 0 if success, and positive value otherwise
(int) SaveTransImage
  Parameters:
  Aim: Save the Transmission image in the output directory
  Returns: 0 if success, and positive value otherwise
  (int) SaveSensitivityImage
  Parameters:
  Aim: Save the Sensitivity image in the output directory
  Returns: 0 if success, and positive value otherwise
  (int) InitPETImageFile
  Parameters: a_path (path of an initial image provided by the user)
  Aim: Associate the ifstream member m_initialPETImage to a_path
  Returns: 0 if success, and positive value otherwise (can't access - or - path does not point to a directory).
  (void) SetBaseName
  Parameters: (string) a_baseName (string containing a name provided by the user)
  Aim: Initialize the baseName (prefix for each images which will be created)
  Returns: none
Data members
string m_baseName
string m_pathName
ofstream m_log;
ofstream m_outPETImage;
ifstream m_initialPETImage;
string m_dataFileName;
string m_pathToSensitivityImage;
sOutputManager* mp_Instance
int m_verbose;
Deprecated functions (LUT file writing)
  PROJ_SetOutputDataFile
  Parameters: (vDataFile*) ap_DataFile
  Aim: Set up the name of the raw dataFile
  Returns: none
  (int) PROJ_WritePETSinoEvent
  Parameters: (vEvent*) ap_Event : event to write
  Aim: Write the content of the event in the file located by "m_dataFileName" and a line break.
  Returns: 0 if success, positive value otherwise
  TODO : Optional fields writing
  TODO : For all read/writing operations : Endianess ?
  (int) PROJ_WritePETListModeEvent
  Parameters: (vEvent*) ap_Event : event to write
  Aim: Write the content of the event in the file located by "m_dataFileName" and a line break.
  Returns: 0 if success, positive value otherwise
  TODO : Optionnal fields writing
  TODO : For all read/writing operations : Endianess ?
[Speaker Notes: - Actuellement j'utilise plusieurs librairies C pour réaliser certaines tâches : - Récupération d'informations sur les fichiers/répertoires : sys/stat.h - Gestion des options : getopt.h Au cas où, vous n'avez pas de contre-indications à l'utilisation de ces librairies ?]

---
sRAMManager
Singleton class that estimates the RAM needs at the begining of the execution with respect to the different options provided.
It also accumulates the RAM usage from any objects that uses a significant amount of RAM.
int EstimateRAMNeeds();
int CumulateRAM(long int a_Amount);
...
  (int) EstimateRAMNeeds
  Parameters: none
  Aim: estimate the RAM needs at the begining of the execution with respect to the different options provided.
  Returns: 0 if success, and positive value otherwise
  (int) CumulateRAM
  Parameters: (long int) a_amount
  Aim: accumulates the RAM usage from any objects that uses a significant amount of RAM.
  Returns: 0 if success, and positive value otherwise
unsigned long int m_RAMNeeds
unsigned long int m_RAMUsage
sRAMManager* mp_Instance
int m_verbose;

---
sScannerManager
Singleton class that manages the scanner types. It can read into the header of the data file to find the scanner in use. It then searches the corresponding scanner into the scanner repository. It finally determines the type of basis scanner system.
The ShowCorrectionHelp function must explain all the options associated to the different scanners, mainly all options concerning the application of the corrections through the -corr option.
void ShowCorrectionHelp();
int FindScannerSystem(string a_pathToDataFilename);
int ReturnScannerType();
vector<string> GetAvailableScanners();
string GetScannerNameFromFile(string a_pathToDataFilename);
int ReadGeomSpecificInfo(string a_keyword, TYPE* ap_return, int a_nbElts);
FLTNB GetScannerAxialCompression();
FLTNB GetScannerAzymutalCompression();
FLTNB GetScannerMaximumRingDiff();
int ReadScannerElementDimensions(FLTNB* ap_eltDim);
int ReadScannerElementCoordinates(int a_offset, FLTNB* ap_centralPosition, FLTNB* ap_angle);
int ReadDefaultScannerDimension(int ap_return[3]);
int ReadDefaultScannerFOV(FLTNB ap_return[3]);
int ReadHeaderData(int a_offset, int* a_return);
int ReadHeaderData(int a_offset, FLTNB* a_return);
.hh
#define SCANNER_UNKNOWN 0
#define SCANNER_PET 1
#define SCANNER_SPECm_PINHOLE 2
#define SCANNER_SPECm_CONVERGENT 3
#define SCANNER_TRANSMISSION 4
  ShowCorrectionHelp
  Parameters: none
  Aim: explain all the options associated to the different scanners, mainly all options concerning the application of the corrections through the -corr option.
  Returns: none
  (int) FindScannerSystem
  Parameters: string a_pathToDataFilename
  Aim: determines the type of basis scanner system by reading through the datafile header(s) provided by the user.
It then searches the corresponding scanner into the scanner repository.
  Returns: 0 if success (corresponding scanner found). Positive value otherwise
(int) ReturnScannerType
Parameters: none
 Aim: Return the predefined Scanner type
Returns: Scanner type value contained in m_scannerType
  vector<string> GetAvailableScanners
  Parameters: string a_folder
  Aim: Gather all the names of the files in the repository folder in a vector<string>
  Returns: vector<string> gathering the names of the files present in the folder
  (string) GetScannerNameFromFile
  Parameters: (string) a_pathToDataFilename
  Aim: Determines the scanner system by reading through the datafile header(s) provided by the user.
  Returns: the name of the system if success, Null value otherwise
  ReadGeomSpecificInfo()
  Parameters: string a_keyword,
        int* ap_return,
        int a_nbElts
  Aim: (Overloaded functions) Look for "a_nbElts" elts of TYPE type in the .geom file matching the "a_keyword" string passed as parameter and return the corresponding value(s) in the "ap_return" array.
  Returns: 0 if success, negative value otherwise
Deprecated functions originally used to read a precomputed LUT. May be useful when we will implement reading of a user-based LUT
int m_myType;
int m_scannerType;
string m_scannerFile;
string m_scannerName;
sScannerManager* mp_Instance
int m_Verbose;
[Speaker Notes: - Au sujet du « scanner repository », je voulais juste confirmer qu'il s'agit bien d'un dossier comportant les configurations de tout les scanners connus par le programme, et que l'utilisateur peut compléter en ajoutant de nouveaux fichiers ? (et dans ce cas j'imagine que le chemin d'accès à ce dossier est défini durant l'installation de la platef-forme et stocké dans une variable d'environnement ?)]

---
Input data file classes

---
vDataFile
This class is designed to be a mother virtual class that should not be used on its own; only its children are used.
Class that manages the reading of the generic input file (header + data).
It uses some mGenericEvent as buffers to get data informations during run-time.
vDataFile (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer);
vDataFile (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer,
        int a_dataType);
 int SearchSystemTypeInHeader();
 virtual int FillBuffer(long int a_eventIndex, int a_th) = 0;
 virtual vEvent* GetEvent(long int a_eventIndex, int a_threadIndex) = 0;
 virtual vEvent* GetEventFromFile(long int a_eventIndex, int a_threadIndex) = 0;
 virtual vEvent* GetEventFromBuffer(char* ap_buffer, int a_threadIndex) = 0;
    virtual int ReadGeneralInfoInHeader() = 0;
    virtual int GetNbSensitivityImage() = 0;
    virtual int GetIdxSensitivityImage(int a_subsetIndex) = 0;
    virtual int GetMPIStart(int a_mpiRank, int a_subset) = 0;
    virtual int GetMPIStop() = 0;
    virtual int ReadSpecificInfoInHeader() = 0;
    virtual int PrepareDataFile(int a_threadIndex) = 0;
Constructor for reconstruction
Constructor for projection
  (int) FillBuffer
  Parameters: (long int) a_eventIndex, (int) a_th
  Aim: Fill 'm_arrayEvents' from the 'a_eventIndex' position in the data file.
       The filling process stops after 'm_sizeArrayEvents' new events have been added, or if we reach the last event of the datafile
  Returns: 0 if success, and positive number otherwise.
  TODO : Reading error management
  Returns: the mpp_BufferEvent element of the the a_threadIndex thread
  (vEvent*) GetEvent
  Parameters: (long int) a_eventIndex, (int)a_threadIndex,
  Aim: According to the choice of loaded or read on-the-fly reading, return either the a_eventIndex event from the datafile or from the pre-loaded data
       Manage the filling of the 'mpp_ArrayEvents 'buffer
  Returns: the mpp_BufferEvent element of the the a_threadIndex thread
  (vEvent*) GetEventFromFile
  Parameters: (long int) a_eventIndex, (int)a_threadIndex
  Aim: Return the a_eventIndex event from the datafile
  Returns: the mpp_BufferEvent element of the the a_threadIndex thread
string m_headerFileName;
string m_dataFileName;
vEvent** mpp_EventsBuffer;
int m_nbThreads;
bool m_loaded;
unsigned long int m_mySize;
int m_verbose;
fstream m_headerFile;
fstream** m_dataFile;
int m_dataType;
long int m_startTime;
long int m_stopTime;
string m_scannerName;
bool m_dataPreloading;
int m_nbSubsets;
int m_sizeEvent;
bool m_optimizedMemoryFlag;
  (vEvent*) GetEventFromBuffer
  Parameters: (char*) ap_buffer, (int)a_threadIndex
  Aim: Return the preloaded a_eventIndex event from the ap_buffer
  Returns: the thread-specific mpp_BufferEvent containing the a_eventIndex event
(such as list-mode, sinogram uint32 or sinogram float32 for PET)
(int) ReadGeneralInfoInHeader
Parameters: none
  Aim: Read through the header file and gather general information.
       This function is implemented in the child classes.
  Returns: 0 if success, and positive value otherwise.
 ( int) GetNbSensitivityImage
  Parameters: none
  Aim: The aim of this function is to return the correct number of images needed for sensitivity correction, as the number of images depends of the dataFile type.
       This function is implemented in the child classes.
  Returns:
 ( int) GetIdxSensitivityImage
  Parameters: (int)a_subsetIndex
  Aim: The aim of this function is to return the correct index for sensitivity correction as the number of images depends of the dataFile type.
       This function is implemented in the child classes.
  Returns:
Scanner names should have the format : ConstructorModalityModel
  (long unsigned int)GetMPIStart
  Parameters: (int)a_mpiRank
  (long unsigned int)GetMPIStart
  Parameters: (int)a_mpiRank, (int)a_subset
  Aim: Return the index corresponding to the beginning of the data section for the processor a_mpiRank and the current a_subset
  Returns: index corresponding of the first event from the data section dedicated to the processor #a_mpiRank
  Aim: Return the index corresponding to the beginning/end of the data section for the processor #a_mpiRank according to the splitting of the data.
       This function is implemented in child classes.
  Returns: index corresponding of the first/last event from the data section dedicated to the processor #a_mpiRank
  (long unsigned int)GetMPIStop
  Parameters: none
  Aim: Return the index corresponding to the end of the data section.
  Returns: index corresponding of the last event from the data section dedicated to the processor #a_mpiRank
  (int) ReadSpecificInfoInHeader
  Parameters: none
  Aim: Read through the header file and gather specific information.
       This function is implemented in the child classes.
  Returns: 0 if success, and positive value otherwise.
  (int)PrepareDataFile
  Parameters: none
  Aim: Store different kind of information inside arrays (data relative to specific correction as well as basic raw data for the case data is loaded in RAM)
       Use the flag provided by the user to determine how the data has to be sorted
       Also computes the different information needed for MPI.
       This function is implemented in child classes.
  Returns: 0 if success, and positive number otherwise.
[Speaker Notes: - On avait évoqué brièvement la gestion des informations pour les corrections 4D (en particulier les corrections de mouvement). C'est probablement un point qu'il faudra discuter en détails lors de la prochaine réunion. Pour l'instant il faudrait prévoir des champs optionnels dans les vEvent pour les corrections spécifiques aux events telles que les corrections de mouvement ligne par ligne. Pour ce qui concerne la gestion des repères temporels qui sont habituellement intégrés dans les list-mode, il faudra qu'on décide si l'on prévoit de les gérer directement dans les list-mode (et donc intégrer des fonctions permettant de réarranger les données selons les repères temporels ou physiologiques), ou si l'on considère que l'utilisateur doit faire un réarrangement préalable de ses données et fournir des fichiers de données contenant les informations nécessaires pour la prise en compte de ces corrections. A priori on penchait plutôt vers la seconde solution. Ca permettrait de rester plus générique et d'éviter de polluer les iDataFile avec tout un tas de fonctions dédiées au rebinning des iEvent, quitte à fournir éventuellement des scripts aux utilisateurs permettant de réarranger les données et de concevoir les fichiers de corrections.]

---
iDataFilePET
Inherit from vDataFile.
Class that manages the reading of a PET input file (header + data).
It contains several arrays corresponding to the different kind of informations the data file could contain. As many booleans as arrays say if the data are here or not.
The data file can be either completely loaded, or read event by event during reconstruction.
MPI is coming here to cut the data file into peaces (also either can be loaded or read on-the-fly).
iDataFilePET (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer);
iDataFilePET (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer,
        int a_dataType);
    virtual int ReadSpecificInfoInHeader();
    int PROJ_WriteEvent(vEvent* ap_Event, FLTNB fp, int a_th);
    virtual vEvent* PROJ_GenerateEvent(int idx_elt1, int idx_elt2, int a_th);
    virtual int PROJ_WriteHeader(int a_nbEvents);
    virtual int PROJ_WriteData(int a_nbEvents);
    virtual int PROJ_InitFile();
   (int) PROJ_WriteEvent
  Parameters: (vEvent*) ap_Event
  Aim: Write event according to the chosen type of data
  Returns: 0 if success, positive value otherwise
  TODO : Depending of the FLAG RAM, either write the data in *nbThreads* different files which will be concatenated at the end, or write data in buffers, to be flush at the end of projection loop.
  (void) PROJ_GenerateEvent
  Parameters: (vEvent*) ap_Event
  Aim: Generate an iEventListModePET or iEventSinoPET event using the indexes passed as parameters
  Returns: the thread specific mpp_BufferEvent array containing the event
iEventListModePET** mpp_LMEvent;
iEventSinoPET** mpp_SinoEvent;
vEvent** mpp_ArrayPreloadedEvents;
bool m_arrayPreloadedEvents;
FLTNB* mp_arrayBasisFunctions;
bool m_arrayBasisFunctions;
FLTNB** mpp_array4Dcorrections;
bool m_array4Dcorrections;
string m_TagXXX;
string m_TagXXX;
bool m_InfoXXX;
bool m_InfoXXX;
float m_DefaultXXX;
float m_DefaultXXX;
float* mp_ArrayXXX;
float* mp_ArrayXXX;
 (int)PROJ_WriteHeader
  Parameters: (int) a_nbEvents : number of events to be writed, computed during the projection
  Aim: Generate a header file according to the projection and data output informations.
       Used by Projection algorithm.
       This function is implemented in child classes.
  Returns: 0 if success, and positive number otherwise.
  (int)PROJ_WriteData
  Parameters: (int) a_nbEvents : number of events to be writed, computed during the projection
  Aim: Generate a data file according to the RAM policy.
       default : write the event collected in the buffers
       poor RAM flag enabled : concatenate the m_nbThreads datafile written inside one file.
  Returns: 0 if success, and positive number otherwise.
  int PROJ_InitFile()
  Parameters: none
  Aim: Initialize the fstream objets for output writing and some other variables dedicated to the Projection script (Event-based correction flags, Estimated size of data file)
  Returns: 0 if success, and positive value otherwise.
[Speaker Notes: J'ai retiré la fonction SearchSystemTypeInHeader. C'est plutôt le rôle du scannerManager, non?]

---
iDataFileSPECT
Inherit from vDataFile.
Class that manages the reading of a SPECT input file (header + data).
It contains several arrays corresponding to the different kind of informations the data file could contain. As many booleans as arrays say if the data are here or not.
The data file can be either completely loaded, or read event by event during reconstruction.
MPI is coming here to cut the data file into peaces (also either can be loaded or read on-the-fly).
iDataFileSPECT (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer);
iDataFileSPECT (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer,
        int a_dataType);
string m_TagXXX;
string m_TagXXX;
bool m_InfoXXX;
bool m_InfoXXX;
float m_DefaultXXX;
float m_DefaultXXX;
float mp_ArrayXXX;
float mp_ArrayXXX;

---
iDataFileTransmission
Inherit from vDataFile.
Class that manages the reading of a transmission input file (header + data).
It contains several arrays corresponding to the different kind of informations the data file could contain. As many booleans as arrays say if the data are here or not.
The data file can be either completely loaded, or read event by event during reconstruction.
MPI is coming here to cut the data file into peaces (also either can be loaded or read on-the-fly).
iDataFileTransmission (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer);
iDataFileTransmission (const string& a_headerFileName,
        int a_verboseLevel,
        int a_nbThreads,
        int a_nbSubsets,
        int a_sizeDataBuffer,
        int a_dataType);
string m_TagXXX;
string m_TagXXX;
bool m_InfoXXX;
bool m_InfoXXX;
float m_DefaultXXX;
float m_DefaultXXX;
float mp_ArrayXXX;
float mp_ArrayXXX;

---
vEvent
This class is designed to be a mother virtual class that should not be used on its own; only its children are used.
The pure virtual GetEventIndices method is implemented in each children in order to get the number of lines included in the event and the associated indices (two crystal indices for PET, one crystal index and one view index for SPECT, etc).
virtual void GetEventIndices(int* a_NbLines, int* a_Index1, int* a_Index2);
virtual int GetNbIndices();
  (void) GetEventIndices
  Parameters: (long int*) a_index1, (long int*) a_index2
  Aim: Ling the array of integers containing the pairs of indexes to the array passed as parameters.
       This method is implemented in child classes
  Returns: none
  (void) GetNbIndices
  Parameters: none
  Aim: Get the number of lines included in the event
  Returns: number of Lines
long int m_TimeInMs;
int m_nbLines;
long int* m_ID1;
long int* m_ID2;

---
iEventPET
Inherit from vEvent.
This class describes the content of a PET event.
virtual void GetEventIndices(int* a_NbLines, int* a_Index1, int* a_Index2);
virtual int GetNbIndices();
FLTNB GetEventValue()=0;
Return the event value (either the bin value for Sino, or 1 for list-mode)
Implemented in child classes
    FLTNB m_atnCorrFactor;

---
iEventListModePET
Inherit from vEvent.
This class describes the content of a List mode PET event.
virtual void GetEventIndices(int* a_NbLines, int* a_Index1, int* a_Index2);
virtual int GetNbIndices();
virtual void SetGeneralFields(long int a_timeInMs, int a_kind, int a_nbLORs, long int* a_crystalID1, long int* a_crystalID2);
Set mutator functions for each field
  (void) SetGeneralFields
  Parameters: (long int) a_timeInMs, (FLTNB*) a_binValue, (int) a_nbLORs, (long int*) a_crystalID1, (long int*) a_crystalID2
  Aim: Set the mandatory fields for this event.
  Returns: none
    int m_kind;
    FLTNB m_binScatIntensityRate;
    FLTNB m_binRdmIntensityRate;
    FLTNB m_normFactor;
    long int m_delayTOF;
    FLTNB m_POI1; //mm
    FLTNB m_POI2; //mm
    FLTNB m_physio1;
Il faudrait prévoir des champs contenant des informations spécifiques à chaque vEvent, susceptibles de contenir des informations pour des corrections temporelles/physiologiques.
[Speaker Notes: - J'ai rajouté deux classes filles de iEventPET pour traiter les events propres au list-mode ou au sinogramme. Je pensais que ça serait plus pratique comme ça, mais si jamais ça n'apporte pas grand chose, on peut conserver une seule classe.]

---
iEventSinoPET
Inherit from vEvent.
This class describes the content of a Sinogram PET event.
virtual void GetEventIndices(int* a_NbLines, int* a_Index1, int* a_Index2);
virtual int GetNbIndices();
virtual void SetGeneralFields(long int a_timeInMs, FLTNB* a_binValue, int a_nbLORs, long int* a_crystalID1, long int* a_crystalID2);
Set mutator functions for each field
  (void) SetGeneralFields
  Parameters: (long int) a_timeInMs, (FLTNB*) a_binValue, (int) a_nbLORs, (long int*) a_crystalID1, (long int*) a_crystalID2
  Aim: Set the most mandatory fields for this event.
  Returns: none
    FLTNB* m_binValue;
    FLTNB* m_binScatIntensityRate;
    FLTNB* m_binRdmIntensityRate;
    FLTNB* m_binNormFactor;

---
iEventSPECT
Inherit from vEvent.
This class describes the content of a SPECT event.
virtual void GetEventIndices(int* a_NbLines, int* a_Index1, int* a_Index2);
virtual int GetNbIndices();
Il faudrait prévoir des champs contenant des informations spécifiques à chaque vEvent, susceptibles de contenir des informations pour des corrections temporelles/physiologiques.
FLTNB m_physio1;

---
iEventTransmission
Inherit from vEvent.
This class describes the content of a transmission event.
virtual void GetEventIndices(int* a_NbLines, int* a_Index1, int* a_Index2);
virtual int GetNbIndices();
Il faudrait prévoir des champs contenant des informations spécifiques à chaque vEvent, susceptibles de contenir des informations pour des corrections temporelles/physiologiques.
FLTNB m_physio1;

---
Projection classes

---
oProjectorManager
This class is used to get a oProjectionLine from a provided vEvent.
It asks for either the oSystemMatrix or the vProjector to fill the corresponding oProjectionLine. In the latter case, the vGenericScanner is used to get the corresponding cartesian coordinates (done inside the vProjector). The TOF implementation is completely managed by the oSystemMatrix and the child of the vProjector classes. The POI measurement can only be managed when using vProjector.
In case of poor RAM flag enabled, the manager call the associated vProjector (intrinsic for oSystemMatrix) in order to get an estimation of the maximum number of contributing voxels.
The options are passed to the constructor as a string containing first the name of the projector, then either a ':' and a configuration file specific to the projector, or as many ',' as needed parameters for this projector.
oProjectorManager( const string& a_options,
        vScanner* ap_Scanner,
        oImageDimensions* ap_ImageDimensions)
int ParseOptions(const string& a_options);
void ShowHelp();
oProjectionLine** ComputeProjectionLine(vEvent* ap_Event);
oProjectionLine** PROJ_GenerateProjectionEvent(vEvent* ap_Event, int a_th);
TODO :
- Calcul des dimensions nécessaires des oProjectionLine à l'instanciation de celles-ci
(int) ParseOptions
  Parameters: (const string&) a_options
  Aim: Manage the options.
       Options are passed to the constructor as a string containing first the name of the projector, then either a ':' and a configuration file specific to the projector - or - as many ',' as needed parameters for this projector.
  Returns: 0 if success, and positive value otherwise
 (oProjectionLine**) ComputeProjectionLine
  Parameters: vEvent* ap_Event
  Aim: Get a set of oProjectionLine from a provided vEvent using either a vProjector or a oSystemMatrix.
       The vProjector uses a vScanner to get the corresponding cartesian coordinates from the vEvent.
  Returns: a set of oProjectionLine** containing each either one or a set of lines
  (oProjectionLine**) PROJ_GenerateProjectionEvent()
  Parameters: (vEvent*) ap_Event, (int) a_elt1, (int) a_elt2 index : index corresponding to one crystal.
  Aim: Generate a new vEvent containing each possible LOR underlied by the two crystals indexed by a_elt1 and a_elt2 (Used in PROJECTION script)
  Returns: the ProjectionLine(s) if they can be performed according to the scanner elements, 0 otherwise
int m_nbThreads;
vScanner* mp_Scanner;
oImageSpace* mp_ImageSpace;
oImageDimensions* mp_ImageDimensions;
oSystemMatrix* mp_SystemMatrix;
oProjectionLine** mpp_ProjectionLines;
string m_ProjectorType;
FLTNB* m_ProjectorParameters;
long int m_nbProjetedEvent;

---
oSystemMatrix
This class is used to contain a complete set of oProjectionLine describing the full system. It can be used either to load a precomputed system matrix stored on disk (format to be defined), or to store one fully computed at the beginning of the execution.
Storage using a map indexed by a pair of indices (crystal-crystal or crystal-view).
Probably a function to manage the TOF masking of the projection line.
std::map<std::pair<int,int>,oProjectionLine*> tp_ProjectionMap;

---
oProjectionLine
This is a simple structure that contains the voxels' contribution to an event (so it can deal with multiple lines at a time, for compression in PET, or multiple pinhole, etc).
By default the constructor set and allocate a sole line. If needed, the function SetNbLines(int a_NbLines) can be used. If the given number of lines is higher than the number of allocated lines, then it allocates more.
oProjectionLine(long int a_NbVoxels, long int a_ReductionFactor=1)
int GetNbLines()
void SetNbLines(int a_NbLines)
long int GetVoxelIndices(int a_lineIndex)
FLTNB GetVoxelWeights(int a_lineIndex)
long int GetCurrentNbVoxels(int a_lineIndex)
void AddVoxelInLine(int a_lineIndex, int a_voxelIndice, FLTNB a_voxelWeight);
inline void IncreaseCurrentNbVoxels(int a_lineIndex)
void Reset()
 (int) GetNbLines
  Parameters: none
  Aim: Get the number of lines in the oProjectionLine.
  Returns: Number of lines.
  (int) SetNbLines
  Parameters: (int) a_NbLines
  Aim: Set the number of lines in the oProjectionLine
  Returns: none.
  (long int) GetVoxelIndices
  Parameters: (int) a_lineIndex, (int) a_voxelInLine
  Aim: Get the index of the #(a_voxelInLine) voxel in the #(a_lineIndex) line contained in the oProjectionLine
  Returns: Index corresponding to the voxel position in the 3D matrix.
  (FLTNB) GetVoxelWeights
  Parameters: (int) a_lineIndex, (int) a_voxelInLine
  Aim: Get the weight of the #(a_voxelInLine) voxel in the #(a_lineIndex) line contained in the oProjectionLine
  Returns: Weight of the #(a_voxelInLine) voxel computed by a vProjector.
  (long int) GetCurrentNbVoxels
  Parameters: (int) a_lineIndex
  Aim: Get the actual number of voxels in the line #(a_lineIndex)
  Returns: number of voxels in a_lineIndex
  (void) AddVoxelInLine
  Parameters: (int) a_lineIndex : line number in the oProjectionLine
        (int) a_voxelIndice : index of the voxel to store in the ProjectionLine
        (FLTNB) a_voxelWeight : weight of the voxel to store in the ProjectionLine
  Aim: Add a voxel in the #(a_lineIndex) line of the oProjectionLine.
  (void) IncreaseCurrentNbVoxels
  Parameters: (int) a_lineIndex
  Aim: Increase the number of voxels in the line #(a_lineIndex)
  Returns: none
  (void) Reset
  Parameters: none
  Aim: Set back all the previously used data of the oProjectionLine to 0.
  Returns: none.
int m_allocatedNbLines;
int m_currentNbLines;
long int* m_allocatedNbVoxels;
long int* m_currentNbVoxels;
long int** mp_voxelIndices;
FLTNB** mp_voxelWeights;
[Speaker Notes: - J'ai quelques doutes au sujet de l'implémentation des oProjectionLine qui contiennent les contributions des voxels à une/plusieurs lignes de réponse. En l'état j'ai implémenté de la façon suivante : A la lecture d'un event on instancie un tableau de oProjectionLine de sorte que chaque oProjectionLine corresponde à une paire d'indices (cristal/cristal ou cristal/vue) de l'iEvent. Le ProjectorManager traite ensuite successivement chaque oProjectionLine avec la fonction Project des classes iProjector. La structure oProjectionLine peut contenir plusieurs lignes, dans le cas où la pair d'indices envoyée au iScanner nécessite de tracer plusieurs lignes de réponse, et de retourner un ensemble de lignes/tubes de réponses. L'optimiseur gère successivement chacune des oProjectionLine qu'il reçoit, ainsi que chaque ligne potentiellement contenue dans chaque oPorjectionLine. - J'ai également quelques doutes au niveau de la compression TEP. Si je ne dis pas de bêtises, il faut que l'on récupère toutes les lignes de réponses qui ont été fusionnées et associées à une paire d'indices du fichier de données. Dans ce cas de figure, les iScanner pourront retourner les différentes lignes via les structures oPoint. Par contre, peut-être qu'il y a d'autres méthodes de compressions auxquelles je n'ai pas pensé.]

---
vProjector
Pure virtual class. Childs are the different projectors (like Siddon, etc), that must implement the projection operation consisting in filling a projection line, from a given event and a given scanner. It has to manage the TOF and POI too. The main function is Project() which simply switches between the 4 different options, with or without TOF and POI with respect to the provided vEvent. The subfunction implementing the projection operations are virtual and actually implemented by the childs. As a default, this mother class only implements an error.
vProjector(oImageDimensions* ap_ImageDimensions)
int Project(vEvent* a_Event, oProjectionLine** app_ProjectionLine, vScanner* a_Scanner);
virtual ProjectWithoutTOFWithoutPOI();
virtual ProjectWithoutTOFWithPOI();
virtual ProjectWithTOFWithoutPOI();
virtual ProjectWithTOFWithPOI();
virtual EstimateMaxNumberOfContributingVoxels();
Int GetNumberOfRequiredLines() = 0;
FLTNB ComputeLorLength(FLTNB* ap_event1, FLTNB* ap_event2)
  (int) Project
  Parameters: oProjectionLine* ap_ProjectionLine,
        vScanner* ap_Scanner
        long int a_index1
        long int a_index2
  Aim: Instanciate the oProjectionLine and the pair of oPoint.
       Gather the cartesian coordinates of the line(s) in the oPoint using the ap_Scanner
       Fill the oProjectionLine using the oPoints and the different projection SubFunctions
       This function is implemented in child classes
  Returns: 0 if success, and positive value otherwise.
  (int) ProjectW/oTOFW/oPOI
  Parameters:
vEvent* ap_Event,
oProjectionLine* ap_ProjectionLine,
vScanner* ap_Scanner
  Aim: Subfunctions which compute the projection operations either with or without Time Of Flight and Point Of Interaction operations
       The Project function looks inside the options to find the right subfunctions to launch.
       These functions are implemented in child classes
  Returns: 0 if success, and positive value otherwise.
  (int) EstimateMaxNumberOfContributingVoxels
  Parameters: none
  Aim: Estimate the maximal number of voxels which can be contained in a oProjectionLine
       The number is used to instanciate all the lines once, and avoid memory reallocation.
       This function is implemented in child classes
  Returns: The max number of voxel in the oProjectionLine.
  (int) GetNumberOfRequiredLines
  Parameters: none
  Aim: Get the number of lines required for this projector.
This function is implemented in child classes
  Returns: Number of lines required to instanciate a oProjectionLine.
  (FLTNB) ComputeLorLength
  Parameters:
FLTNB* ap_event1
FLTNB* ap_event2
  Aim: Compute the length of the LOR using the coordinates of two points.
  Returns: Length of the line as a float
 FLTNB (*m_Point1)[3];
 FLTNB (*m_Point2)[3];
 int m_nbRequiredPoints;
 int m_index1;
 int m_index2;
 int m_nbLines;
 FLTNB m_sizeVox[3];
 int m_nbVox[3];

---
iProjectorSiddon
  void ComputeEntranceVoxelIndexes(FLTNB* lc_dist, FLTNB* alphaMin, FLTNB* alphaMax);
  void ComputeEntrancePlanesIndexes(FLTNB* lc_dist, FLTNB* alphaMin, FLTNB* alphaMax);
  void ComputeSiddon(oProjectionLine* ap_ProjectionLine, int a_Lineindex);
Pure virtual class. Childs are the different projectors (like Siddon, etc), that must implement the projection operation consisting in filling a projection line, from a given event and a given scanner.
 (void) ComputeEntranceVoxelIndexes
  Parameters:
FLTNB* lc_dist : lower corner distance from center in channels
FLTNB* alphaMin : alpha value corresponding to the entrance point of the ray
FLTNB* alphaMax : alpha value corresponding to the exit point of the ray
  Aim: Compute entrance voxel indexes (m_voxFirst)
  Returns: none
  (void) ComputeEntrancePlanesIndexes
  Parameters:
FLTNB* lc_dist : lower corner distance from center in channels
FLTNB* alphaMin : alpha value corresponding to the entrance point of the ray
FLTNB* alphaMax : alpha value corresponding to the exit point of the ray
  Aim: Compute entrance planes indexes (m_alphaPlaneFirst, m_alphaPlaneLast)
  Returns: none
   (void) ComputeSiddon
  Parameters: oProjectionLine* ap_ProjectionLine,
        int a_LineIndex
  Aim: Fill the #(a_LineIndex) line of a oProjectionLine using the Siddon projector.
       (Implementation of the Siddon Projector is from "Filip Jacobs and al., A fast algorithm to calculate the exact radiological path through a pixel or voxel space", CIT. JOURNAL OF COMPUTING AND INFORMATION TECHNOLOGY}, 1,89-94, vol 6, 1998)
  Returns: none
FLTNB m_length_LOR;
FLTNB m_event1[3];
FLTNB m_event2[3];
FLTNB m_alphaMinAll;
FLTNB m_alphaMaxAll;
FLTNB m_alphaPlaneFirst[3];
FLTNB m_alphaPlaneLast[3];
int m_voxFirst[3];

---
Scanner classes

---
vScanner
This class is designed to be a mother virtual class that should not be used on its own; only its children are used.
It has a pure virtual function that is used to get the cartesian coordinates of any line described by two indices.
int GetCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3]) ;
int GetOrientation(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetRandomCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetTwoCorners(int a_index1, int a_index2,
        FLTNB ap_CornerInf1[3], FLTNB ap_CornerSup1[3],
        FLTNB ap_CornerInf2[3], FLTNB ap_CornerSup2[3]) ;
long int GetSystemNbElts() ;
int IsAvailableLOR(int a_elt1, int a_elt2) ;
int ComputeLUT() ;
…
Other pure virtual generic functions aiming to recover every kind of informations about the geometry
 (int) GetCartesianCoordinates
  Parameters: (int) a_index1, (int) a_index2 : indexes of two element defining a line
        (FLTNB[3]) ap_Point1, (FLTNB[3]) ap_Point2 : two points which will gather the coordinates
  Aim: Find the scanner elements described by the two indexes passed in parameters
       Write the corresponding (set of) central cartesian coordinates in the ap_Points according to the modality.
  Returns: 0 if success, positive value otherwise
  (int) GetOrientation
  Parameters: (int) a_index1, (int) a_index2 : indexes of two element defining a line
        (FLTNB[3]) ap_Point1, (FLTNB[3]) ap_Point2 : two points which will gather the coordinates
  Aim: Find the scanner elements described by the two indexes passed in parameters
       Write the corresponding (set of) elements orientations in the ap_Points according to the modality.
  Returns: 0 if success, positive value otherwise
  (int) GetRandomCartesianCoordinates
  Parameters: (int) a_index1, (int) a_index2 : indexes of two element defining a line
        (FLTNB[3]) ap_Point1, (FLTNB[3]) ap_Point2 : two points which will gather the coordinates
  Aim: Find the scanner elements described by the two indexes passed in parameters
       Compute random positions inside the elements described by the indexes passed in parameters
       Write the corresponding (set of) random cartesian coordinates in the ap_Points according to the modality.
  Returns: 0 if success, positive value otherwise
 (int) GetTwoCorners
  Parameters: (int) a_index1, (int) a_index2 : indexes of two element defining a line
        (FLTNB[3]) ap_CornerInf1, (FLTNB[3]) ap_CornerSup1,
        (FLTNB[3]) ap_CornerInf2, (FLTNB[3]) ap_CornerSup2) : four points which will gather the coordinates of the opposite corners of the scanner elements
  Aim: Find the scanner elements described by the two indexes passed in parameters
       Write the corresponding (set of) elements orientations in the ap_Points according to the modality.
  Returns: 0 if success, positive value otherwise
  (long int) GetSystemNbElts
  Parameters: none
  Aim: Return the number of crystals in the system.
  Returns: number of crystals
  (int) IsAvailableLOR
  Parameters: (int) a_elt1, (int) a_elt2
  Aim: Check if the LOR is available according to the scanner restrictions (such as minAngleDifference, RingDifference)
  Returns: 1 if the LOR is available, 0 otherwise
 TODO : Allow the user to manually modify these restrictions (eg: disable oblic LOR)
string m_ScannerName;
int m_ScannerType;
int m_Verbose;
 (int) ComputeLUT()
  Parameters: none
  Aim: Compute the scanner LUT
  Returns: 0 if success, positive value otherwise
  TODO : crystal layers management
        rsectors angular span management
        rsectors ZShift management
[Speaker Notes: - Les projecteurs peuvent utiliser les fonctions des vScanner pour calculer directement les informations géométriques dont ils ont besoin (ex : la position centrale des cristaux, ou une position aléatoire dans le cristal). Si besoin, les projecteurs plus complexes peuvent récupérer les informations géométriques de base (position et orientation des cristaux) et effectuer eux-mêmes les calculs.]

---
iScannerPET
Inherits from vScanner.
This class is used to represent any cylindrical PET scanner.
It can be used to reconstruct any transmission acquisitions based on a PET scanner.
TODO :
- Management of LUT provided by the user
- crystal layers management
- rsectors angular span management
- rsectors ZShift management
- allow user to modify scanner geometrical restrictions (for the projection script)
int GetCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3]) ;
int GetOrientation(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetRandomCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetTwoCorners(int a_index1, int a_index2,
        FLTNB ap_CornerInf1[3], FLTNB ap_CornerSup1[3],
        FLTNB ap_CornerInf2[3], FLTNB ap_CornerSup2[3]) ;
long int GetSystemNbElts() ;
int IsAvailableLOR(int a_elt1, int a_elt2) ;
int ComputeLUT() ;
FLTNB m_nbCrystals;
FLTNB m_nbLayers;
FLTNB* m_crystalCentralPositionX;
FLTNB* m_crystalCentralPositionY;
FLTNB* m_crystalCentralPositionZ;
FLTNB* m_crystalAngleX;
FLTNB* m_crystalAngleY;
FLTNB* m_crystalAngleZ;
FLTNB* m_sizeCrystalTrans;
FLTNB* m_sizeCrystalAxial;
FLTNB* m_sizeCrystalDepth;

---
iScannerSPECTConv
Inherits from vScanner.
This class is used to represent any SPECT scanner based on a collimator with as many holes as crystals. It is defined as a multi-convergent collimator that can intrinsically describe fan-beam and parallel collimators.
It can be used to reconstruct any transmission acquisitions based on a SPECT scanner.
int GetCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3]) ;
int GetOrientation(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetRandomCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetTwoCorners(int a_index1, int a_index2,
        FLTNB ap_CornerInf1[3], FLTNB ap_CornerSup1[3],
        FLTNB ap_CornerInf2[3], FLTNB ap_CornerSup2[3]) ;
long int GetSystemNbElts() ;
int IsAvailableLOR(int a_elt1, int a_elt2) ;
int ComputeLUT() ;

---
iScannerSinogram
Inherits from vScanner.
This class is used to represent a sinogram based scanner. It means that we have only a description of a sinogram (radial, azymuthal, axial bins) with bin spacing and so on, which is not based on a particular geometry. However, we have to provide methods that are able to compute geometric coordinates for a given bin, as if there are one crystal in each side of the bin.
int GetCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3]) ;
int GetOrientation(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetRandomCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetTwoCorners(int a_index1, int a_index2,
        FLTNB ap_CornerInf1[3], FLTNB ap_CornerSup1[3],
        FLTNB ap_CornerInf2[3], FLTNB ap_CornerSup2[3]) ;
long int GetSystemNbElts() ;
int IsAvailableLOR(int a_elt1, int a_elt2) ;
int ComputeLUT() ;

---
iScannerSPECTPinhole
Inherits from vScanner.
This class is used to represent any SPECT scanner based on a pinhole collimator. It assumes that the pinholes are fixed in the detector referential. Pinholes are described as a list of cartesian coordinates representing the center of the hole. The pinholes are assumed to be parallel to the detector.
It can be used to reconstruct any transmission acquisitions based on a SPECT scanner.
int GetCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3]) ;
int GetOrientation(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetRandomCartesianCoordinates(int a_index1, int a_index2,
        FLTNB ap_Point1[3], FLTNB ap_Point2[3] ) ;
int GetTwoCorners(int a_index1, int a_index2,
        FLTNB ap_CornerInf1[3], FLTNB ap_CornerSup1[3],
        FLTNB ap_CornerInf2[3], FLTNB ap_CornerSup2[3]) ;
long int GetSystemNbElts() ;
int IsAvailableLOR(int a_elt1, int a_elt2) ;
int ComputeLUT() ;

---
oMatrix
This is a simple class dedicated to Matrix operations for geometric purposes.
Matrices are instantiated and used by the scanner classes.
 void SetMatriceElt(int a_i,int a_j, FLTNB a_value);
 FLTNB GetMatriceElt(int a_i,int a_j);
 void Multiplication(oMatrix *a_Mtx);
int lin;
int col;
FLTNB **mat;
[Speaker Notes: - Une classe oMatrix, utilisées par les vScanner (et peut-être aussi par les projecteurs) pour réaliser les calculs matriciels comme son nom l'indique.]

---
Image domain classes

---
oImageDimensions
This class is just a simple structure that holds the dimensions of the image space: number of voxels, number of basis functions, size of voxels, offsets.
Get and Set for each member.
int m_NbVoxX;
int m_NbVoxY;
int m_NbVoxZ;
int m_NbVoxXY;
int m_NbVoxXYZ;
int m_NbTimeBasis;
int m_NbTimeFrames;
int m_DeadFrames;
FLTNB* mp_FrameDurations;
FLTNB m_VoxSizeX;
FLTNB m_VoxSizeY;
FLTNB m_VoxSizeZ;
FLTNB m_FOVSizeX;
FLTNB m_FOVSizeY;
FLTNB m_FOVSizeZ;
FLTNB m_OffsetX;
FLTNB m_OffsetY;
FLTNB m_OffsetZ;

---
oImageSpace
This class holds all the matrices in the image domain that can be used in the algorithm: image, forward-image, correction, additional image, sensitivity image.
ForwardImage: 3 pointers, 1 for 3D, 2 for 4D
BackwardImage: 5 pointers, 1 for 3D, 2 for 4D, 1 for threads, 1 for number of images
SensitivityImage: 4 pointers, 1 for 3D, 2 for 4D, 1 for nbSubsets
MiscImage: 4 pointers, 1 for 3D, 2 for 4D, 1 for number of images.
Image matrices are public and can be directly accessed from each classes.
It also includes many functions for initializating, reseting, or deforming the images.
  void InstanciateImage() (for each image matrices)
  void InitializeImage() (for each image matrices)
  void PrepareForwardImage();
  void Reduce();
  void PreImageUpdate();
  void PostImageUpdate();
  void ApplySensitivity(int a_indexSubset);
  void DeallocateImage() (for each image matrices)
  int LoadInitialImage(string a_pathToImage);
  int SaveImage(int a_number);
  void PROJ_InstanciateAttenuationImage();
  void PROJ_DeallocateAttenuationImage();
  void PROJ_InitializationAttenuationImage(string a_pathToAtnImage, string a_pathToCTImage, FLTNB a_value);
  int PROJ_LoadAttenuationImage(string a_pathToImage);
  int PROJ_LoadCTImage(string a_pathToImage);
  void PROJ_CopyAtnToImage();
  int PROJ_SaveSensitivityImage(int a_nbSubsets);
  void InstanciateImage() (for each image matrices)
  Parameters: none
  Aim: Instanciate each image matrix
        Some matrices require several information for the instanciation (such as the number of backward images or the number of subsets)
  Returns: none
  void InitializeImage()
  Parameters: none
  Aim: Initialize the main image matrix using either the default value or an image provided by the user .
The sensitivity image can be either computed or initialized using an image provided by the user
  Returns: none
  void PrepareForwardImage()
  Parameters: none
  Aim: Copy current image in forward-image buffer (apply deformation or other corrections if needed)
  Returns: none
  void Reduce()
  Parameters: none
  Aim: Merge parallel results from the backward images.
  Returns: none
  void PreImageUpdate()
  Parameters: none
  Aim: Apply deformation or other correction if needed to the backward image(s)
  Returns: none
  void PostImageUpdate()
  Parameters: none
  Aim: Post-update processing of the current estimate (modele fitting, smooth, etc...)
  Returns: none
  (void) ApplySensitivity
  Parameters: a_indexSubset : index of the current subset
  Aim: Apply the sensitivity image to the main image.
       The index of the current subset is passed as a parameter if needed (eg : sinogram mode)
  Returns: none
  Void DeallocateImage() (for each image matrices)
  Parameters: none
  Aim: Instanciate each image matrix
        Some matrices require several information for the instanciation (such as the number of backward images or the number of subsets)
  Returns: none
  (int)LoadInitialImage
  Parameters: (string) a_pathToImage
  Aim: Load the initial image provided by the user in the mpp_image matrix
  Returns: 0 if success, and positive value otherwise
  (void) SaveImage
  Parameters: (int) a_number
  Aim: Save the main image using the sOutputManager.
       Parameter 'a_number' will be used as suffix for the name of the saved image
  Returns: none
  void PROJ_InstanciateAttenuationImage()
  Parameters: none
  Aim: Instanciate the attenuation image
       USED BY THE PROJECTOR SCRIPT
  Returns: none
  void PROJ_DeallocateAttenuationImage()
  Parameters: none
  Aim: Deallocate the attenuation image
       USED BY THE PROJECTOR SCRIPT
  Returns: none
  (void) PROJ_InitializationAttenuationImage
  Parameters: (string) a_pathToAtnImage : path to an attenuation map provided by the user
        (string) a_pathToCTImage : path to a CT map provided by the user
        (FLTNB) a_value : initial value for the voxels
  Aim: Attenuation image initialisation using either :
- an image provided by the user (a_pathToAtnImage or a_pathToCTImage)
 - the default value (=a_value)
       USED BY THE PROJECTOR SCRIPT
  Returns: none
  (int) PROJ_LoadAttenuationImage
  Parameters: (string) a_pathToImage
  Aim: Load the attenuation image provided by the user in the mpp_attenuation matrix
       USED BY THE PROJECTOR SCRIPT
  Returns: 0 if success, and positive value otherwise
oImageDimensions* mp_Dimensions;
int m_nbThreads;
int m_nbSubsets;
FLTNB** mpp_image;
FLTNB** mpp_forwardImage;
FLTNB**** mpppp_backwardImage;
FLTNB*** mppp_sensitivity;
FLTNB*** mppp_miscImage;
FLTNB* mp_maskImage;
  (int)PROJ_LoadCTImage
  Used in PROJECTION script
  Parameters: (string) a_pathToImage
  Aim: Load the CT image provided by the user, perform the CT -> Attenuation map conversion, get the result in the mpp_attenuation matrix
  Returns: 0 if success, and positive value otherwise
  // TODO : Etant donné que la conversion CT-> Atn dépend des constructeurs, si l'on propose cette option il faudrait récupérer des infos sur le CT à partir du repository
  void CopyAtnToImage()
  Parameters:
  Aim: Copy the attenuation image contained in the 'mpp_attenuation' matrix inside the mpp_image matrix.
  Returns: none
  (void) PROJ_SaveSensitivityImage
  Parameters: (int) a_nbSubsets
  Aim: Write the sensitivity image on disk.
       The index of the current subset is passed as a parameter if needed (ex : sinogram mode)
  Returns: none
[Speaker Notes: - Toujours dans les corrections 4D, il faudra qu'on discute à la réunion de la gestion de la 4D dans les matrices d'image. Pour l'instant je ne vois pas de problèmes dans le fait de gérer l'ensemble de la décomposition des données 4D (en frames d'acquisitions dynamiques et phases (respiratoires/cardiaques/ou autre type de mouvements)) dans ce vecteur, mais je me demande si cette implémentation est suffisamment flexible pour gérer tout les types de corrections (dans l'éventualité ou certaines corrections requerraient des étapes de traitement supplémentaires dans les boucles de l'algorithme de reconstruction) - Au niveau de la matrice contenant l'image de sensitivité, je me demande s'il ne faudrait pas rajouter une dimension pour le nombre de lit, dans le cas où l'utilisateur souhaite prendre en compte la correction d'atténuation dans l'image de sensitivité (image de sensitivité est alors créée en projetant les lignes de réponses à travers la carte d'atténuation). Dans cette situation, l'image est différente pour chaque pas de lit.]

---
vKineticModel
This class manages the kinetic modeling that can be applied at the end of an update in the iterative algorithm, or as a post-processing step.
It has
 virtual void FitModel(oImageSpace* ap_ImageSpace) = 0;
 ... residuals, copy back to image, etc ...
int m_nbParameters;
FLTNB** mpp_parameters;
[Speaker Notes: - Toujours dans les corrections 4D, il faudra qu'on discute à la réunion de la gestion de la 4D dans les matrices d'image. Pour l'instant je ne vois pas de problèmes dans le fait de gérer l'ensemble de la décomposition des données 4D (en frames d'acquisitions dynamiques et phases (respiratoires/cardiaques/ou autre type de mouvements)) dans ce vecteur, mais je me demande si cette implémentation est suffisamment flexible pour gérer tout les types de corrections (dans l'éventualité ou certaines corrections requerraient des étapes de traitement supplémentaires dans les boucles de l'algorithme de reconstruction) - Au niveau de la matrice contenant l'image de sensitivité, je me demande s'il ne faudrait pas rajouter une dimension pour le nombre de lit, dans le cas où l'utilisateur souhaite prendre en compte la correction d'atténuation dans l'image de sensitivité (image de sensitivité est alors créée en projetant les lignes de réponses à travers la carte d'atténuation). Dans cette situation, l'image est différente pour chaque pas de lit.]

---
oConvolver
This class is used to manage and perform convolutions of images in the spatial domain. Multiple types of kernels can be used. Convolutions can be applied to a single image or to a group of images for optimization. It can use a oImageSpace object as a parameter. Convolutions are performed using a padded copy of the input image so that no “if” are needed in the convolution to check for boundaries.
void ApplyPSFToForwardImage(oImageSpace* ap_ImageSpace)
void ApplyPSFAfterProjection(oImageSpace* ap_ImageSpace, , int a_nbBackwardImages)
void CopyToPaddedImage(FLTNB* ap_inputMatrix)
void MergePaddedImage(FLTNB* ap_outputMatrix)
void ApplyPSF()
  (void) ApplyPSFToForwardImage
  Parameters: (oImageSpace*) ap_ImageSpace
  Aim: Apply the PSF kernel to the ForwardImage matrix of the ap_ImageSpace
  Returns: none
  (void)ApplyPSFAfterProjection
  Parameters: (oImageSpace*) ap_ImageSpace, (int) a_nbBackwardImages
  Aim: Apply the PSF kernel to the BackwardImage matrix of the ap_ImageSpace
  Returns: none
  (void)CopyToPaddedImage
  Parameters: app_inputMatrix : 3D matrix containing the data to convolve
  Aim: Store an 3D image matrix in the mp_paddedImage, for convolution purposes
  Returns: none
  (void)MergePaddedImage
  Parameters: ap_outputMatrix : output 3D matrix receiving the convolved data
  Aim: Write the containing of the padded image in the output matrix, using the m_offset[3]
  Returns: none
  (void)ApplyPSF
  Parameters: none
  Aim: Apply the PSF to the paddedImage.
According to the options and the data provided by the user, different type of kernel can be used.
  Returns: none
mp_ImageDimensions* ap_ImageDimensions;
FLTNB m_fixPsfKernel[3];
FLTNB* m_varPsfKernel[3];
FLTNB** mp_paddedImage;
FLTNB mp_offset[3];
int m_nbOffsetVoxXYZ;
[Speaker Notes: - Au niveau de la classe oConvolver, à quoi correspond la convolution sur un groupe d'image mentionnée dans la description de la classe ?]

---
Algorithm classes

---
oAnalyticalAlgorithm
This class manages a analytical reconstruction. From the rebinning into evenly-spaced sinograms (at first), to the back-projection, through the filtering in the fourier domain.

---
oIterativeAlgorithm
This class manages an iterative reconstruction of any kind with the input being a vGenericDataFile, and through the use of a oProjector, a oOptimizer, a oConvolver, a oImageSpace. It can compute the sensitivity image and perform the iterations.
In the ShowOptimizerHelp function, all the different optimizers should be described.
int Iterate();
int IterateCPU();
int IterateGPU();
ShowOptimizerHelp();
(int) Iterate
  Parameters:
  Aim: Just call either the IterateCPU or the IterateGPU function as asked for.
  Returns: 0 if success, and positive value otherwise.
(int) IterateCPU
  Parameters:
  Aim: Perform the iterative loop of the algorithm, call the different object for optimization, projection, update, etc.
       Function designed to be executed on the CPU only.
  Returns: 0 if success, and positive value otherwise.
(int) IterateGPU
  Parameters:
  Aim: Perform the iterative loop of the algorithm, call the different object for optimization, projection, update, etc.
       Function designed to be executed on the GPU only.
  Returns: 0 if success, and positive value otherwise.
bool m_optimizedMemoryFlag;
int m_verboseLevel;
bool m_flagGPU;
oImageDimensions* mp_ImageDimensions;
vDataFile** mpp_DataFile;
oProjectorManager* mp_Projector;
oImageSpace* mp_ImageSpace;
oConvolver* mp_PSF;
vOptimizer* mp_Optimizer;
int m_NbBeds;
Int m_nbSubsets
string mp_path_to_initial_img;
string mp_pathToSensitivityImg;

---
oSensitivityGeneration
This class manages the computation of the sensitivity images in case it is not provided by the user
It uses a vGenericDataFile, a oProjector, a specific oOptimizer (ComputeSensitivity, a oConvolver and a oImageSpace.
The algorithm generate the sensitivity image by either projecting each possible LOR (LaunchCPUListMode) or projecting using each event of the datafile (LaunchCPUSino).
TODO : Sensitivity map generation for SPECT/CT when these modalities will be implemented
int Launch();
int LaunchCPU();
int LaunchGPU();
int LaunchCPUListMode(int a_bed);
int LaunchCPUSino(int a_bed);
  int Launch()
  Parameters: none
  Aim: Just call either the LaunchCPU or the LaunchGPU function as asked for.
  Returns: 0 if success, and positive value otherwise.
  int LaunchCPU()
  Parameters: none
  Aim: Perform the sensitivity image generation, call the different object for allocations, initializations, saving and deallocations etc.
       Function designed to be executed on the CPU only.
  Returns: 0 if success, and positive value otherwise.
  int LaunchCPU()
  Parameters: none
  Aim: Perform the sensitivity image generation, call the different object for allocations, initializations, saving and deallocations etc.
       Function designed to be executed on the GPU only.
  Returns: 0 if success, and positive value otherwise.
  int LaunchCPUListMode()
  Parameters: (int) a_bed
  Aim: Perform the loop of the sensitive image generation algorithm for LIST-MODE data type
       Loop over all possible LOR which can be generated by the scanner elements
       Function designed to be executed on the CPU only.
  Returns: 0 if success, and positive value otherwise.
  int LaunchCPUSino()
  Parameters: (int) a_bed
  Aim: Perform the loop of the sensitive image generation algorithm for SINOGRAM data type
       Generate several sensitivity image according to the number of subsets
       Loop over all LOR in the datafile.
       Function designed to be executed on the CPU only.
  Returns: 0 if success, and positive value otherwise.
bool m_optimizedMemoryFlag;
int m_verboseLevel;
bool m_flagGPU;
oImageDimensions* mp_ImageDimensions;
vDataFile** mpp_DataFile;
oProjectorManager* mp_Projector;
oImageSpace* mp_ImageSpace;
oConvolver* mp_PSF;
vOptimizer* mp_Optimizer;
int m_NbBeds;
Int m_nbSubsets;
string mp_pathToInitialImg;
string mp_pathToAttenuationImg;
string mp_pathToCTImg;
string mp_pathToSensitivityImg;

---
oAnalyticProjection
This class manages the projection of an image and the computation of the associated datafile.
It uses a vGenericDataFile, a oProjector, a specific oOptimizer (ComputeProjection), a oConvolver and a oImageSpace.
TODO : Projection for SPECT/CT when these modalities will be implemented
int Launch();
int LaunchCPU();
int LaunchGPU();
  int Launch()
  Parameters: none
  Aim: Just call either the LaunchCPU or the LaunchGPU function as asked for.
  Returns: 0 if success, and positive value otherwise.
  int LaunchCPU()
  Parameters: none
  Aim: Perform the projection by executing each possible LOR of the scanner, call the different object for optimization, projection, update, etc.
       Function designed to be executed on the CPU only.
  Returns: 0 if success, and positive value otherwise.
  int LaunchCPU()
  Parameters: none
  Aim: Perform the projection by executing each possible LOR of the scanner, call the different object for optimization, projection, update, etc.
       Function designed to be executed on the GPU only.
  Returns: 0 if success, and positive value otherwise.
bool m_optimizedMemoryFlag;
int m_verboseLevel;
bool m_flagGPU;
oImageDimensions* mp_ImageDimensions;
vDataFile** mpp_DataFile;
oProjectorManager* mp_Projector;
oImageSpace* mp_ImageSpace;
oConvolver* mp_PSF;
vOptimizer* mp_Optimizer;
int m_nbBeds;
string mp_pathToInitialImg;
string mp_pathToAttenuationImg;
string mp_pathToCTImg;

---
vOptimizer
This class is used to perform optimization operations in the data and in the image domains. It can use many different optimizer such as EMML, Landweber, NEGML, AML, etc, with or without associated MAP. It uses a oProjectionLine, a oImageSpace and a mGenericEvent as input and performs 4D forward-projections, updates and 4D backward-projections in the data space. It also uses a oImageSpace to perform the image update at the end of a subset.
int DataUpdateStep(oProjectionLine** app_Line, oImageSpace* ap_Image, vEvent* ap_Event, int a_nbSubset, int th);
int DataUpdateStep(vDataFile* ap_DataFile, oProjectionLine** app_Line, oImageSpace* ap_Image, vEvent* ap_Event, int th);
int PrepareMAPComponent() = 0;
int ImageUpdate(oImageSpace* ap_Image , int a_subsetIndex) = 0;
int GetNbBackwardImages(return m_nbBackwardImages;)
FLTNB GetInitialValue() {return m_initialValue;}
void ShowHelp();
  (int) DataUpdateStep
  Parameters: (oProjectionLine**) app_Line,
   (oImageSpace*) ap_Image,
        (vEvent*) ap_Event,
        (int) a_nbSubset,
        (int) th,
  Aim: Optimize in the data space (this function perform the forward-projection, update and backward-projection operations)
       This function is implemented in child classes
  Returns: 0 if success, positive value otherwise
  (int) DataUpdateStep
  Parameters: (vDataFile*) ap_DataFile,
       (oProjectionLine**) app_Line,
   (oImageSpace*) ap_Image,
        (vEvent*) ap_Event,
        (int) th,
  Aim: Optimize in the data space (this function perform the forward-projection, update and backward-projection operations)
       This function is implemented in child classes
       USED BY PROJECTION SCRIPT
  Returns: 0 if success, positive value otherwise
 (int) PrepareMAPComponent
  Parameters: none
  Aim: Compute the MAP component in the case the optimizer requires such operation
       This function is implemented in child classes
  Returns: 0 if success, positive value otherwise
 (int) ImageUpdate
  Parameters: (oImageSpace*) ap_Image , (int) a_subsetIndex
  Aim: Apply corrections, MAP (if any) and sensitivity in the image space.
       This function is implemented in child classes
  Returns: 0 if success, positive value otherwise
  (int) GetNbBackwardImages()
  Parameters: none
  Aim: Get the number of backward images needed for the use of this specific optimizer
  Returns: the require number of backward images
  (FLTNB) GetInitialValue
  Parameters: none
  Aim: Get the value for initialisation specific to the iOptimizer
  Returns: return the initial value of the used Optimizer
  (void) showHelp
  Parameters: none
  Aim: Display description about the different available optimizers
  Returns: none
FLTNB m_initialValue = 1.;
int m_nbBackwardImages;
oImageDimensions*	mp_ImageDimensions;

---
vPenalty
This class is used to compute penalties in the context of penalized optimizers (MAP).
virtual void ComputePenalty() = 0;
FLTNB** mp_penalty;
TODO : Have to decide the number of pointers because there can be many if the penalty depends on the 4D pointers and so on...